## Slide 1
CMR Toolkit Threshold Model Module
Salma Bengali, Alan Morris, Josh Cates, Rob MacLeod
CARMA Center/SCI Institute
University of Utah
© 2012, All Rights Reserved

## Slide 2: Learning Objective
Threshold Model Module in Slicer
© 2012, All Rights Reserved

## Slide 3: Current Workflow
Wall and Endo Models
MRI Projected on Wall Model
Thresholded Model

## Slide 4
Slicer: Release 4.2
http://www.slicer.org/pages/Downloads/
Data: CARMA Slicer Extension Tutorial Data
http://hdl.handle.net/1926/1765
Required Materials
© 2012, All Rights Reserved

## Slide 5: Additional Sample Data
60 patients
http://hdl.handle.net/1926/1757

## Slide 6
Pre-requisite Tutorial
© 2012, All Rights Reserved
http://www.slicer.org/slicerWiki/index.php/Documentation/4.0/Training

## Slide 7
Platforms
© 2012, All Rights Reserved
Developed
Tested

## Slide 8
Overview
© 2012, All Rights Reserved
Load the data
Threshold the model

## Slide 9: Loading the Data
Select ‘Choose Directory to Add’ in the pop-up menu

## Slide 10: Loading the Data
Select the directory containing your dataset

## Slide 11: Loading the Data

## Slide 12: Threshold Model
Input volumes
{
Output model

## Slide 13: Threshold Model
Create the wall and endo models

## Slide 14: Threshold Model
Viewer automatically updates to show the output models

## Slide 15: Threshold Model
Select the wall model for the next step

## Slide 16: Threshold Model
1.Select the probe input image button
2.The MRI image intensity will be mapped to the wall model

## Slide 17: Threshold Model
Adjust the thresholds as required

## Slide 18: Conclusion
This module can be used for thresholding a model of the left atrium wall.